COMMERCIAL REMODEL/BUILDOUT

Below you will find a summary of code requirements for Commercial Remodel/Buildout base upon the 2012 International Residential Code.

PERMIT REQUIRMENTS

- Four sets of plans with Illinois architectural seal

- Completed Application

-The Use Group and Construction Type must be provided

-Square Footage

-Number of Stories

-Permanent Property Index Number

-Certified Plat of Survey

- List of Subcontractors with phone numbers and addresses.

  - Electrician’s License & Liability Insurance ($1 million dollar coverage)

  - Excavator must provide a $10,000 Surety Bond in original form.

  - Plumbers 055 and 058 License.

- Roofer License.

NOTE: If external modifications and/or site expansion is proposed; provide external architectural elevations, external lighting fixture details, fence or signage proposed, any trash enclosures with door and wall materials and the inclusion of any rooftop or wall-mounted electrical/mechanical fixtures.

INSPECTIONS REQUIRED

- Sewer/Water

- Backfill

- Underground Plumbing

- Slab

- Electrical Service

- Rough Framing/Mechanicals/Electric/Plumbing

- Insulation

- Final