NEW CONSTRUCTION

SINGLE FAMILY RESIDENCE

PERMIT REQUIRMENTS

- Four sets of plans with Illinois architectural seal including electrical, plumbing, structural and mechanical.

- Truss designs.

- Energy Report.

- Four site plans including top of foundation, elevations, grading, drive, utilities, and erosion control.

- Completed Application.

  - The Use Group and Construction Type must be provided.

  - Estimated Cost of Construction.

  - Cubic Footage.

  - Number of Stories.

  - Permanent Property Index Number (PIN).

- Recent (max. 2 years old) Certified Plat of Survey.List of Subcontractors with phone numbers and addresses.

INSPECTIONS REQUIRED

- Silt Fence

- Footing

- Sewer/Water

- Backfill/Drain Tile

- Underground Plumbing/Mechanical

- Electrical Service

- Rough Framing/Mechanical/Electrical/Plumbing

- Insulation

- Completion, including final lot grading, and final landscaping.